TYPES OF LASERS AND THEIR SETTINGS

|  | WAVELENGTH | ENERGY MODE | DEPTH OF PENETRATION | type |  |
| --- | --- | --- | --- | --- | --- |
| CO2 LASER | 10600nm | 20-40 mJ | 0.1MM-0.5MM | Fractional,ablative,deep mode |  |
| DIODE LASER | 980nm,1470nm | 7 watts in pulse mode(2 pulses of 0.5 sec each ,with 0.5 sec pause) 8 pulses delivered for every cm of vagina. | - |  |  |
| ERB-YAG LASER | 2940nm | 1.5-2.5 J /CM2 | 3MM-5MM | Smooth modenon -ablative |  |